Backflow Retrofit – Submittal Guide

Online Application Information:

Submit applications at www.goodyearaz.gov/development

ATTENTION:

This submittal guide is a reference/resource for applicants to prepare for submitting an application. This document is not required to be included with your attachments.

Items checked on this guide should be uploaded in your attachments. Plan sets may be uploaded as multi-page PDFs.

If the box is not checked, these items are not required but may be included if needed and can be uploaded to your project as a “Supporting Document.”

Application Type: Building Applications

Project Type: Commercial Construction Plumbing

Upload and Submit:

Checked files are the required files to submit with the application.

☒ Site Plan including the following:

☒ Property Address

☒ Backflow Assembly (Size, Type and Brand)

☒ Type of Piping and Fittings

☒ North Arrow

☒ Dimensions from meter to proposed backflow

☒ Dimensions from proposed backflow to building

☒ Refer to Backflow City Detail (G-3350 or G-3351)

☒ Refer to Enclosure City Detail (G-3357 or G-3358)

☐ Domestic Water Calculations (if applicable)

☐ Fire Sprinkler Hydraulic Calculations (if applicable)

☐ Manufacturer Cut Sheets

☐ Fire Protection Plans

Fees Due:

Plan review and permit fees are paid at time of permit issuance.